## Instructions
Preventive Maintenance Schedule: How to Use
Stop running your machines to failure. This planner tells you what to service, when it is due,
and what is overdue, so a breakdown never catches you off guard and a statutory inspection is
never missed. Built for Indian factories, offices, hospitals, hotels, retail and facilities teams.
SHEETS IN THIS WORKBOOK:
1. Instructions (this sheet)
2. Asset Register: list every machine/asset once, with location, criticality and AMC details
3. PM Schedule: the planner with each task's frequency, last-done date, auto next-due and status
4. Maintenance Log: record every job done, with downtime and cost
5. Statutory PM Reference (India): legally required periodic inspections and their basis
6. Dashboard: live counts of overdue / due-soon tasks and total maintenance spend
STEP-BY-STEP:
Step 1: Fill the 'Asset Register'. Add each asset once (cream cells). Set its criticality.
Every other sheet picks assets from this list, so name them clearly.
Step 2: Open 'PM Schedule'. For each maintenance task, pick the asset, write the task,
choose the type and frequency, and enter the date it was Last Done.
The sheet works out the Next Due date and the Status for you.
STATUS colours: RED = OVERDUE (do it now) AMBER = DUE SOON (within 7 days)
GREEN = SCHEDULED (on track). Status updates every time you open the file.
Step 3: After a job, add a row to 'Maintenance Log' (date, asset, what was done, downtime, cost).
Then update the Last Done date on the PM Schedule so the next due date rolls forward.
Step 4: Check the 'Dashboard' any time for how many tasks are overdue and your spend so far.
STATUTORY MAINTENANCE (do not skip):
Fire extinguishers, lifts, boilers/pressure vessels, weighing scales, lifting tackle and
electrical installations carry LEGAL inspection intervals. See the 'Statutory PM Reference'
sheet. Many of these are set by STATE rules and vary, so confirm your state's current
periodicity. Mark these tasks as type 'Statutory' on the PM Schedule.
FORMAT: Dates are DD-MMM-YYYY. Costs are in Rupees. 'Next Due' uses whole months for Monthly,
Quarterly, Half-Yearly and Annual tasks, and exact days for Daily/Weekly/Fortnightly.
NEED MORE ROWS? This template holds 40 assets, 60 maintenance tasks and 50 log entries.
To add more: go Review > Unprotect Sheet, insert rows inside the table, then drag the
formula cells (Next Due, Days to Due, Status) down into the new rows.
Powered by Petpooja Tasks: schedule recurring work, auto-remind staff on WhatsApp, and get
photo proof of completion. petpooja.com/tasks

## Asset Register
Asset Register: list every asset once
Fill the cream cells. Give each asset a clear name; the PM Schedule and Log pick from this list.
# | Asset Name | Asset ID | Category | Location / Dept | Make & Model | Install Date | Warranty Expiry | Criticality | AMC Vendor | AMC Expiry
1 | DG Set 125 kVA | DG-01 | Power | Utility Yard | Kirloskar KOEL | 2023-04-10 | 2025-04-10 | Critical | Kirloskar Care | 2027-03-31
2 | Passenger Lift 8-person | LIFT-01 | Elevator | Main Lobby | OTIS Gen2 | 2022-06-15 | 2024-06-15 | Critical | OTIS AMC | 2026-12-31
3 | Fire Extinguishers ABC 6kg (x12) | FE-SET | Fire Safety | All floors | Ceasefire | 2024-01-20 |  | High | Ceasefire | 2027-01-19
4 | Split AC 2 Ton (x8) | AC-SET | HVAC | Offices | Voltas | 2023-03-05 | 2024-03-05 | Medium | Cool Care AMC | 2026-10-31
5 | Air Compressor 10 HP | COMP-01 | Utility | Workshop | ELGi EG11 | 2022-11-12 | 2024-11-12 | High | ELGi Service | 2027-02-28
6 | Cold Storage Chiller | CHIL-01 | Refrigeration | Store Room | Blue Star | 2023-08-01 | 2025-08-01 | Critical | Blue Star AMC | 2027-07-31
7 | CCTV & DVR System | CCTV-01 | Security | Site-wide | Hikvision | 2024-02-10 | 2027-02-10 | Medium
8 | RO Water Plant 500 LPH | RO-01 | Utility | Pantry | Ion Exchange | 2023-05-20 | 2024-05-20 | Medium
9 | Main LT Panel / DB | ELEC-01 | Electrical | Electrical Room | L&T | 2021-09-01 |  | High
10 | Platform Weighing Scale 500 kg | WS-01 | Measuring | Dispatch | Essae | 2023-07-15 | 2025-07-15 | Medium
11 | Steam Boiler 500 kg/hr | BOIL-01 | Pressure Vessel | Boiler House | Thermax | 2022-10-01 |  | Critical | Thermax AMC | 2027-01-31
12 | Forklift 2 Ton Diesel | FL-01 | Material Handling | Warehouse | Godrej GX | 2023-01-10 | 2025-01-10 | High | Godrej Service | 2026-12-31
13 | Exhaust / Ventilation Fans | VENT-01 | Ventilation | Production | Crompton | 2023-04-01 |  | Low
14 | Packaging Machine | PACK-01 | Production | Packing Line | Nichrome | 2022-12-05 | 2024-12-05 | High | Nichrome AMC | 2027-03-31
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
Powered by Petpooja Tasks: recurring schedules, WhatsApp reminders, photo proof. petpooja.com/tasks

## PM Schedule
PM Schedule: what is due, and what is overdue
Pick an asset, write the task, choose type and frequency, enter the Last Done date. Next Due and Status calculate automatically. Status updates every time you open the file.
# | Asset | Maintenance Task | Type | Frequency | Last Done | Next Due | Days to Due | Status | Assigned To | Est. Cost (₹)
1 | DG Set 125 kVA | Engine oil & filter change | Preventive | Quarterly | 2026-05-15 |  |  |  | Maintenance Team | 4500
2 | DG Set 125 kVA | Load test & battery check | Preventive | Monthly | 2026-06-20 |  |  |  | Maintenance Team | 800
3 | Passenger Lift 8-person | AMC preventive service | AMC | Monthly | 2026-06-25 |  |  |  | OTIS AMC | 0
4 | Passenger Lift 8-person | Statutory inspection & licence renewal | Statutory | Annual | 2025-08-28 |  |  |  | Lift Inspector | 6000
5 | Fire Extinguishers ABC 6kg (x12) | Monthly visual check & gauge | Safety | Monthly | 2026-06-30 |  |  |  | Safety Officer | 0
6 | Fire Extinguishers ABC 6kg (x12) | Annual refilling & hydraulic test | Statutory | Annual | 2025-06-20 |  |  |  | Ceasefire | 3600
7 | Split AC 2 Ton (x8) | Filter cleaning | Preventive | Monthly | 2026-06-28 |  |  |  | Maintenance Team | 400
8 | Split AC 2 Ton (x8) | Gas top-up & full servicing | Preventive | Quarterly | 2026-05-05 |  |  |  | Cool Care AMC | 6400
9 | Air Compressor 10 HP | Air filter & oil change | Preventive | Quarterly | 2026-05-01 |  |  |  | ELGi Service | 3200
10 | Cold Storage Chiller | Condenser coil cleaning | Preventive | Monthly | 2026-06-18 |  |  |  | Maintenance Team | 1200
11 | Cold Storage Chiller | Temperature probe calibration | Calibration | Quarterly | 2026-04-20 |  |  |  | Blue Star AMC | 1500
12 | Main LT Panel / DB | Thermography scan | Safety | Half-Yearly | 2026-01-10 |  |  |  | Electrician | 2500
13 | Main LT Panel / DB | Terminal tightening & cleaning | Preventive | Quarterly | 2026-04-10 |  |  |  | Electrician | 1000
14 | Platform Weighing Scale 500 kg | Legal Metrology re-verification & stamping | Statutory | Annual | 2025-07-20 |  |  |  | Legal Metrology Dept | 1200
15 | Steam Boiler 500 kg/hr | IBR statutory inspection & certificate | Statutory | Annual | 2025-09-30 |  |  |  | Boiler Inspector | 15000
16 | Steam Boiler 500 kg/hr | Safety valve testing | Safety | Half-Yearly | 2026-03-30 |  |  |  | Thermax AMC | 4000
17 | Forklift 2 Ton Diesel | Preventive service | Preventive | Monthly | 2026-06-28 |  |  |  | Godrej Service | 2000
18 | Forklift 2 Ton Diesel | Lifting chain & hydraulic examination | Statutory | Annual | 2025-10-01 |  |  |  | Competent Person | 1500
19 | RO Water Plant 500 LPH | Filter / membrane check | Preventive | Monthly | 2026-06-10 |  |  |  | Maintenance Team | 900
20 | Packaging Machine | Preventive service & lubrication | Preventive | Monthly | 2026-07-05 |  |  |  | Nichrome AMC | 1800
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
Powered by Petpooja Tasks: recurring schedules, WhatsApp reminders, photo proof. petpooja.com/tasks
Formulas:
Next Due = IF([Last Done]="","",IF([Frequency]="Daily",[Last Done]+1,IF([Frequency]="Weekly",[Last Done]+7,IF([Frequency]="Fortnightly",[Last Done]+14,IF([Frequency]="Monthly",EDATE([Last Done],1),IF([Frequency]="Quarterly",EDATE([Last Done],3),IF([Frequency]="Half-Yearly",EDATE([Last Done],6),IF([Frequency]="Annual",EDATE([Last Done],12),""))))))))
Days to Due = IF([Next Due]="","",[Next Due]-TODAY())
Status = IF([Next Due]="","",IF([Next Due]<TODAY(),"OVERDUE",IF([Next Due]-TODAY()<=7,"DUE SOON","SCHEDULED")))

## Maintenance Log
Maintenance Log: every job done
Record each completed job. After logging, update the Last Done date on the PM Schedule.
# | Date | Asset | Work Done | Type | Done By | Downtime (hrs) | Cost (₹) | Parts Replaced | Notes / Next Action
1 | 2026-07-05 | Fire Extinguishers ABC 6kg (x12) | Annual refill & hydraulic test (was overdue) | Statutory | Ceasefire | 2 | 3600 | 12 units refilled | Next due Jul 2027
2 | 2026-06-28 | Split AC 2 Ton (x8) | Filter cleaning, all units | Preventive | Maintenance Team | 1 | 400 | - | Cooling normal
3 | 2026-06-25 | Passenger Lift 8-person | Monthly AMC service | AMC | OTIS | 3 | 0 | Door sensor | Under AMC
4 | 2026-06-22 | Forklift 2 Ton Diesel | Monthly preventive service | Preventive | Godrej | 4 | 2000 | Hydraulic oil | -
5 | 2026-06-20 | DG Set 125 kVA | Monthly load test | Preventive | Maintenance Team | 1 | 800 | Battery water | Backup OK
6 | 2026-06-18 | Cold Storage Chiller | Condenser coil cleaning | Preventive | Maintenance Team | 2 | 1200 | - | Temp stable
7 | 2026-06-10 | RO Water Plant 500 LPH | Sediment filter change | Preventive | Maintenance Team | 1 | 900 | Sediment filter | -
8 | 2026-05-15 | DG Set 125 kVA | Quarterly oil & filter change | Preventive | Maintenance Team | 3 | 4500 | Oil, oil+air filter | -
9 | 2026-05-01 | Air Compressor 10 HP | Air filter & oil change | Preventive | ELGi | 2 | 3200 | Oil, air filter | -
10 | 2026-04-20 | Cold Storage Chiller | Temperature probe calibration | Calibration | Blue Star | 1 | 1500 | - | Calibrated to +/-0.5 C
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
TOTAL
Powered by Petpooja Tasks: recurring schedules, WhatsApp reminders, photo proof. petpooja.com/tasks

## Statutory PM Reference
Statutory Preventive Maintenance in India: legally required checks
Confirm the current frequency with your state authority; several of these are set by STATE rules and vary. Cite the specific rule when you file. This is a starting reference, not legal advice.
System / Equipment | What the law expects | Typical frequency | Legal basis (verify state-wise)
| Fire extinguishers | Monthly visual check; at least annual thorough inspection; recharge right after any use | Monthly + annual; hydrostatic test by type (~3 yrs DCP/water/foam, 5 yrs CO2) | State Fire Prevention & Life Safety Act (adopts NBC 2016 Part 4) + fire-NOC renewal. IS 2190:2010 is the BIS practice code, not the statute
| Passenger lifts / elevators | Periodic examination and licence / permit renewal | 1-3 years, set by state | State Lifts & Escalators Acts (a State subject), e.g. Maharashtra Lifts Act 2017, Gujarat Lifts Act 2000, Tamil Nadu 1997
| Boilers / pressure vessels | Statutory inspection and renewed certificate to operate | Annual (certificate valid max 12 months) | Boilers Act 1923 (s.7-10) + Indian Boiler Regulations 1950; via the state Boiler Inspectorate
| Weighing & measuring instruments | Verification and stamping of commercial weights / measures | State-notified: weighbridge ~1 yr, weights ~2 yrs; also after any repair | Legal Metrology Act 2009 (s.24); Legal Metrology (General) Rules 2011 (Rule 27)
| Electrical installations | Periodic inspection and testing; earthing and insulation checks | Not exceeding 5 years (LV periodicity may be set by the state Electrical Inspector) | CEA (Measures relating to Safety & Electric Supply) Regulations 2010, Reg. 30
| Lifting machines, chains, ropes, tackle | Thorough examination by a competent person; keep a register | At least every 12 months (shorter if the Inspector directs) | OSH Code 2020 (in force 21-Nov-2025, replaced Factories Act 1948); rules under the Code / state rules transitioning
| Pressure plant & vessels (in factories) | External, internal and hydraulic examination | State rules: external ~6 mo, internal ~12 mo, hydraulic ~4 yrs | OSH Code 2020 + state Factory Rules (formerly Factories Act 1948, s.31)
| Food-contact equipment (FSSAI) | Cleaning, maintenance and calibration of equipment | Periodic / per manufacturer / risk-based (no fixed interval set) | Schedule 4, FSS (Licensing & Registration) Regulations 2011
| DG sets | Emission and noise compliance; routine servicing | Per CPCB norms and OEM schedule | CPCB DG-set norms under the Environment (Protection) Act 1986
Automate statutory reminders with Petpooja Tasks: set the legal frequency once and staff get a WhatsApp alert before every due date, with photo proof logged. petpooja.com/tasks

## Dashboard
Maintenance Dashboard
Live rollup of the Asset Register, PM Schedule and Maintenance Log. Updates when you open the file.
MAINTENANCE STATUS | ASSETS
Tasks OVERDUE | Total assets
Tasks DUE SOON (<=7 days) | Critical assets
Tasks SCHEDULED | High-criticality assets
Total PM tasks planned
COST & DOWNTIME (logged)
Maintenance spend logged (₹)
Downtime logged (hrs)
Planned PM cost, next cycle (₹)
Never miss a due date again. Petpooja Tasks turns this schedule into automatic WhatsApp reminders with photo proof and overdue escalation. petpooja.com/tasks